|  | Technical Specifications | Unit | Qty | Rate (KSHS) | Amount (KSHS) |
| --- | --- | --- | --- | --- | --- |
|  | CIRCULAR BOARDROOM TABLE |  |  |  |  |
|  | Supply and Fix Circular Boardroom Table including off-site pre-fabrication/cutting to require sizes of part components comprising: |  |  |  |  |
|  | 50 x 50 x 2mm vertical and horizontal metal frames all primed and painted white (m.s) | LM | 81 |  |  |
|  | 25 x 25 x 2mm vertical and horizontal metal frames all primed and painted white (m.s) | No. | 41 |  |  |
|  | 18mm thick plain MDF board top in approved color | SM | 25 |  |  |
|  | 6mm thick plain mdf boards curved to detail | SM | 27 |  |  |
|  | 3mm thick white ply board curved on inner side to detail | SM | 27 |  |  |
|  | Prime metalic surfaces; prepare and apply two finishing coats white gloss oil paint girths n.e 100mm | LM | 143 |  |  |
|  | 1mm oak wrap cover laminated firmly onto surfaces using approved adhesive and laminated carefully | SM | 158 |  |  |
|  | Sundries Drill holes as specified to match ICT table module | Item |  |  |  |
|  | 2mm holding plates | No. | 18 |  |  |
| Total For Boardroom Table (VAT Inclusive) Carried to Form of Quotation |  |  |  |  |  |
| Amount of tender in words: ……………………………………………………………………………… Tenderer Signature and stamp……………………… Date…………………… Witness: Name and signature………………………………………… Address………………………………………… Date……………………………… |  |  |  |  |  |  |

Deadline for Submission: 3/10/2023